Blood Bank for SDH Raikot, Ludhiana.

It is submitted that for establishment of the new Blood Bank at SDH, Raikot as per schedule F of Drugs & Cosmetics Act, 1940 the following essential blood bank equipments are required. The detail of equipments is as under :

Equipments A:

| Sr No | Name of Equipment | Unit Price | Quantity to be procured | Total Cost |
| --- | --- | --- | --- | --- |
| 1 | Blood Bank Refrigerator* | 400000 | 2 | 800000 |
| 2 | Bio Mixer with battery back-up | 150000 | 2 | 300000 |
| 3 | Stripper with cutter | 2000 | 2 | 4000 |
| 4 | Di-electric sealer-portable | 200000 | 1 | 200000 |
| 5 | Domestic Refrigerator 260 L | 15000 | 1 | 15000 |
| 6 | Bench top centrifuge | 25000 | 1 | 25000 |
| 7 | Dry Incubator | 20000 | 1 | 20000 |
| 8 | Serological water bath | 20000 | 1 | 20000 |
| 9 | Auto clave | 25000 | 1 | 25000 |
| 10 | Binocular microscope | 35000 | 1 | 35000 |
| 11 | Micropipettes (2µl- 100 µl) single channel | 10000 | 2 | 20000 |
| 12 | Multi channel Pipette | 20000 | 2 | 40000 |
| 13 | Digital analytical balance | 70000 | 1 | 70000 |
| 14 | Elisa System* | 300000 | 1 | 300000 |
| 15 | Generator 10KVA | 95000 | 1 | 95000 |
| 16 | Computer with terminals with pre loaded | 50000 | 1 | 50000 |
|  | Total Amount Approximately |  |  | 20,19,000/- |

Infrastructure It is further submitted the following infrastructure is required for establishment for New Blood Bank at SDH, Raikot 100 square meter area as per drugs and cosmetic Act, 1940. Tentative amount Rs. 70 lakh required for infrastructure are required as under:

- Regtistration cum Medical Examination Room

- Blood Collection Room

- Storage of Blood

- Quarantine area for storage of Blood

- Quarantine area for storage handling and disposal of products and reason not suitable for use.

- Area for Storage of finished products

- Serology lab room

- TTI Lab room

- Sterilization cum washing room

- Store cum record room